## Slide 1: Improving Outcomes in Cardiogenic Shock
Yuri B. Pride, MD, FACC, FSCAI
7th Annual Synergy Cardiac/EP Summit
July 8, 2017

## Slide 2: Disclosures
No relevant disclosures
Consultant
  2009-present, Boston Clinical Research Institute
    Eli Lilly
    Roche
    Novo Nordisk
    Astellas
    Pfizer
    Microport
    Gilead
Legal malpractice consulting

## Slide 3: Outline
Definition of cardiogenic shock
Demographics of cardiogenic shock
Acute MI
  Early angiography and intervention
Percutaneous left ventricular assist devices
  Intraortic balloon pump
  Impella

## Slide 4: Cardiogenic Shock
Definition
  Persistent hypotension (SBP <90 mmHg or MAP 30 mmHg less than baseline)
  Severe reduction in cardiac output/index
  Adequate or elevated filling pressures
Most common cause is acute MI
  Other causes include myocarditis, Takotsubo CMPY, acute MR or AR, massive PE
Circulation 2008. 117:686

## Slide 5: Cardiogenic Shock is Bad

## Slide 6: Cardiogenic Shock
Occurs in 5-8% of STEMI patients and ~2.5% of NSTEMI patients
Approximately 40-50,000 cases per year
Risk factors
  Age, anterior MI, HTN, diabetes mellitus, multivessel CAD, prior MI, prior CHF, STEMI and LBBB
Circulation 2008. 117:686

## Slide 7: Incidence is Rising
Circulation 2008. 117:686

## Slide 8
Circulation 2008. 117:686

## Slide 9: Revascularization
JAMA 2006. 295:2511

## Slide 10: Still work to do
Inpatient mortality still hovers around 50%
Use of vasopressors associated with higher mortality
J Card Surg 2009. 14:288

## Slide 11: Balloon pump

## Slide 12
Eur Heart J 2009. 30:459

## Slide 13: IABP SHOCK II Trial
Randomized 600 patients with acute MI complicated by cardiogenic shock
  SBP < 90mmHg or use of vasopressors
  Clinical signs of pulmonary congestion
  Impaired end-organ perfusion
    Altered mental status, cold and clammy skin, oliguria and/or lactate >2.0 mmol/L
N Engl J Med 2012. 367:1287

## Slide 14: IABP SHOCK II Trial
N Engl J Med 2012. 367:1287

## Slide 15: Impella pVAD

## Slide 17
Inflow
(ventricle)
Outflow
(aortic root)
aortic
valve
Coronary Perfusion
Microvascular
Resistance
LVEDP and LVEDV
O2 Demand
Unloading to Myocardial Recovery
O2 Supply
Mechanical
Work
Wall
Tension
Cardiac Power Output
Flow
End Organ Perfusion
MAP
Est. In-Hospital Mortality
Cardiac Power Output (Watts)
Cardiac Power Output
(MAP x Cardiac Output x 0.0022)
Fincke, et. al. JACC, 2009 SHOCK TRIAL
(n=189)

## Slide 18: How much support?
(L/min/m2)
Augmented CI
Ventricular Unloading
Impella 2.5
Native
Heart
Pre-Support
On Impella
1.71±0.45
2.20±0.64
1.73±0.59
1.84±0.71
Pre-Support
On
IABP
N.S.
P= 0.02
Native CI
N=26
Impella 2.5
IABP
J Am Coll Cardiol 2008. 52:1584

## Slide 19: cVAD Registry
Mortality Based on the Number of Inotropes Used Before Impella Support

## Slide 20: cVAD Registry
Mortality Based on Duration of Cardiogenic Shock Before Impella Support

## Slide 21: AMICS Registry

## Slide 22: IMPRESS Study
Enrolled 48 patients
  Acute MI complicated by cardiogenic shock
  SBP <90 mmHg for >30 mins or vasopressors required to maintain SBP >90 mmHg
  Respiratory failure requiring mechanical ventilation
Primary outcome was all-cause mortality

## Slide 23: Primary outcome

## Slide 24: Limitations
Small study
Nearly all support devices were placed following PCI rather than pre-PCI
92% of patients had cardiac arrest
  48% of these had ROSC >20 mins
Growing body of evidence to improve “door-to-unloading” in cardiogenic shock

## Slide 25: Conclusions
Cardiogenic shock continues to be associated with high mortality
Early revascularization is critical
IABP did not lead to improved survival
  IIb recommendation in ESC guidelines
Impella shows promise, but no definitive evidence of clinical benefit
  IIb recommendation in ESC guidelines